## Summary
Sample Location: |  | Various offshore sediment sites located inside Sinclair Inlet along Operable Unit B (OUB) :
(i) Pierside & Quaywall [PQ] locations adjacent to outfall 18A/B & (ii) Drydock # 6 [DD6], inside Naval Shipyard (NSY) Puget Sound, Bremerton, Washington (USA)
Sampling Dates: 15-Jul-10 (DD6) and 27-Jul-10 (PQ)
Sample Type: Sediment (wet), grab, composite
Analysis: Poly-Chlorinated Biphenyls (PCBs) & Polynuclear Aromatic Hydrocarbons (PAHs) by Enzyme-Linked Immuno Sorbent Assay (ELISA) Methods
ImmunoAssay Application: EPA Methods: 4020[mod] (PCB) & 4035[mod] (PAH) - For Soils (Modified for Marine Sediments)
Analysis Dates: (i) 13-Sep-10 for PAHs; (ii) Oct. 2010 for PCBs
Analyst: Joel M. Guerrero, Scientist (Environmental Chemistry), U.S. Navy Space & Naval Warfare Systems Center (SPAWARSYSCEN) Pacific,
Advanced Systems & Applied Sciences Division, Applied Systems & Environmental Sciences Branch (Code 71751), (619) 553-4169
Analysis Location: Building 111, Rapid Sediment Characterization (RSC) Laboratory, Room 122 (Bayside), (619) 553-2765
POCs: Dr. James M. Leather, Scientist (Marine Geochemistry), SPAWARSYSCEN, Pacific [SSC-Pacific], Code 71751: (619) 553-6240
Joel M. Guerrero, Scientist (Environmental Chemistry), SPAWARSYSCEN Pacific [SSC-Pacific], Code 71751: (619) 553-4169
Method Summary: The ImmunoAssay (IA) test kits used for this method are commercially available (RaPIDTM Assay, Stategic Diagnostics Inc.,
www.sdix.com). In general, the IA method is perfomed using a sample extract. The sample and an enzyme conjugate are added
to an antibody. The enzyme conjugate "competes" with the contaminant of interest (PCB/PAH) present in the sample
for binding to the antibody. The assay test is interpreted by comparing the response produced by the sample test
to the response produced by testing a range of kit-supplied standards simultaneously.
Sample Preparation Procedures:
(1) Pre-processing: mix wet sediment thoroughly with clean sampler spoons. using filter paper (grade 13V) and heavy-duty lab towels, about 20-30 grams of
wet sample are dewatered and/or air-dried to reduce sediment moisture content (at least less than 30%). observe and record other sediment
meta data (i.e. color, grain size, smell, oil sheen, debris, shell hash, etc.)
(2) Sub-sampling: weigh and record 5 grams of "dry" (at least 70% or more) sediment using top loading balance. transfer into
50 ml centrifuge tubes (pre-cleaned/sterile).
(3) Extraction: add 10 ml of methanol (MeOH, Aldrich 99.9+% capillary GC grade). cap centrifuge tube tight. vortex slurry for 1-2 seconds
to loosen particles and break-up large sediment clumps. shake the mixture vigorously and continously for at least 1 hour in a rotator/shaker
set at maximum amplitude (400 rpm).
(4) Separation: check the tube cap again for a tight seal. centrifuge the slurry for at least 10-15 minutes (EIC/Sorvall) at 3000 rpm.
transfer/pour MeOH extract into a syringeless filter vial and filter through (GFC/Whatman, 0.45 um pore size) into amber, teflon-lined vial.
record extract color. cap and seal the vial, keep dark and cool (2-8 degrees C).
(5) Dilution: pipet (using eppendorf) 25 μL of MeOH extract into glass test tube (pre-cleaned with screw cap) containing 5-50 ml of sample
diluent (reagent buffer saline solution having preservatives and stabilizers without any detectable PCBs).
cap test tubes and vortex to mix.
(6) Assay: pre-label and prepare polystyrene test tubes (allow for field/sample/extract duplicates for each assay run).
perform immunoassay (IA) procedures by following SDI standard soil methods for pcbs/pahs.
ImmunoAssay (IA) ELISA Protocols: The sample (with the unknown contaminant concentration; ex. PCB) is analyzed by the addition of an
enzyme conjugate (labeled PCB).This is followed by addition of paramagnetic particles with anti-bodies specific to "both" PCBs.
In relatively proportional concentrations, both the sample PCBs and the "labeled" PCBs (conjugate) compete for the binding sites on the magnetic particles.
After an incubation period, a magnetic field is applied to hold (in-place) the magnetic particles having the sample PCB and its "labeled" PCB analog to bind
with the antibodies. Any unbound reagents are decanted and washed repeatedly. PCBs in the mixture are detected with the addition of an enzyme substrate
(color solution) containing a chromagen which specifically react to the "labelled" PCBs. After another incubation, the reaction is stopped
and stabilized by addition of acid (stopping solution). Since the labelled PCBs and sample PCBs are in competition (proportionally)
with the binding sites, the color developed at the end of reaction is inversely proportional to the concentration of PCBs in the sample.
This color response is measured by a spectrophotometer (set at 450 nm) and compared to the responses taken from
a calibrated series of known pcb standards (kit-supplied) to determine the equivalent PCB (as Aroclor 1254) concentration of the sample.
Calculations: The dry-weight corrected organic contaminant (OC) concentration in sediment is calculated (according to eq. 1 and eq. 2)
by multiplying the IA result by factors that are introduced by the sample pre-processing procedures (collection, extraction, extract dilution steps above).
| OCconc = IA x (VMeOH / Wdrysed) x df |  | (eq.1)
|  | df = (Vext + Vdil) / Vext | (eq.2)
where;
| OCconc: | PCB or PAH dry weight sediment concentration (μg/Kg)
| IA: | ImmunoAssay result (mg/L)
| VMeOH: | Volume of methanol (extractant)
| Wdrysed: | Weight of dry sediment
| df: | Dilution factor
| Vext: | Volume of dilution extract
| Vdil: | Volume of diluent
Colorimetry: Absorbance values at l = 450 nm were measured/recorded using a field-portable/lab benchtop HACH Model DR/2010
direct-reading spectrophotometer (HACH Co., Loveland, CO). This analyzer is a microprocessor-controlled, single-beam instrument
with a Littrow Prism monochromator design which uses an ultra-violet (UV) enhanced silicon photodiode for detection.
It is manually programmed to display results in raw absorbances. The HACH DR/2010 is calibrated at the start of each assay run.
It is zeroed for absorbance measurements and a series of assay method calibrations are performed using a contaminant-free 0 (zero) standard,
a range of 3 standard concentrations, and a control. Method/equipment/reagent blanks and marine sediment standard reference materials (SRMs)
[NRCC (i) HS-1(PCB) & (ii) HS-5 (PAH)] are also used for standardization. Measurements of raw absorbance data are serially down-loaded
to a laptop computer using a WindowsTM application HACHLinkTM data acquisition software. Serial data, collected as text files, are transferred
and copied into a spreadsheet program (ExcelTM) for reduction. A calibration curve (with R2= 0.9) is generated for each assay run

## ImmunoAssay (IA) Results
Field ID | tPCB RSC |  |  |  | tPAH RSC
SAMPLE LABEL | (mg/Kg) | Q | Stdev | %RSD | (mg/Kg) | Q | Stdev | %RSD
PQ1 |  |  |  |  | 15741.3103 |  | 1369.6403 | 8.701%
PQ2 |  |  |  |  | 22876.7596 |  | 1024.5066 | 4.478%
DD6-1/4 Comp |  |  |  |  | 3244.6194 |  | 154.7677 | 4.77%
DD6-7 |  |  |  |  | 2726.8763 |  | 21.9436 | 0.8047%
Definitions:
Stdev: Standard Deviation from replicate XRF measurements (n≥3)
% RSD: Percent Relative Standard Deviation whereby; [{stdev/mean} * 100]
Data Qualifier (Q): U = not detected, (measured value ≤ MDL); J = Estimated, (MDL ≤ measured value ≤ RDL); Blank = detected
Label: tPCB RSC = Site calibrated total poly-chlorinated biphenyl concentration [as Aroclor 1254] (μg/Kg / ppb) - result from ELISA Analysis
tPAH RSC = Site calibrated total poly-aromatic hydrocarbon concentration [as Phenanthrene] (μg/Kg / ppb) - result from ELISA Analysis
PQ = Pierside -Quaywall stations adjacent to Outfall 18A&B; DD6-x = Drydock # 6 - (1-7); Comp = composite sample

## SiteCalibratedReplicateAnalysis
SAMPLE | Fe (mg/Kg) | [6 empty] | tPCB (μg/Kg) | [5 empty] | tPAH (μg/Kg)
LABEL | 1 | 2 | 3 | 4 | Mean | Stdev | %RSD | 1 | 2 | 3 | Mean | Stdev | %RSD | 1 | 2 | Mean | Stdev | %RSD
PQ1 | 37555.5357 | 37378.1334 | 36430.5071 | 35205.4441 | 36642.4051 | 1077.785 | 2.941% | [6 empty] | 14772.8283 | 16709.7923 | 15741.3103 | 1369.6403 | 8.701%
PQ2 | 61275.1444 | 55343.8107 | 58077.9026 | 55537.3705 | 57558.557 | 2773.2675 | 4.818% | [6 empty] | 23601.1952 | 22152.3241 | 22876.7596 | 1024.5066 | 4.478%
DD6-1/4 Comp | 15262.7222 | 15601.7055 |  |  | 15432.2139 | 239.6974 | 1.553% | [6 empty] | 3135.1821 | 3354.0567 | 3244.6194 | 154.7677 | 4.77%
DD6-7 | 17477.9992 | 17184.3347 | 15553.877 | 16199.8093 | 16738.737 | 1036.5711 | 6.193% | [6 empty] | 2711.3598 | 2742.3927 | 2726.8763 | 21.9436 | 0.8047%
Definitions:
Mean: Arithmethic Mean
Stdev: Standard Deviation from replicate XRF scan analyses (n ≥ 2)
% RSD: Percent Relative Standard Deviation whereby; [{stdev/mean} * 100]
Label: PQ = Pierside -Quaywall stations adjacent to Outfall 18A&B; DD6-x = Drydock # 6 - (1-7); Comp = composite sample

## OUB PAH_Fe Results
SAMPLE | tPCB |  |  |  | tPAH |  |  |  | Fe
LABEL | (mg/Kg) | Q | Stdev | %RSD | (mg/Kg) | Q | Stdev | %RSD | (mg/Kg) | Q | Stdev | %RSD
OUBM-G 1 |  |  |  |  | 3451.2145 |  |  |  | 29821.7792
OUBM-G 2 |  |  |  |  | 2843.0497 |  |  |  | 38253.5013
OUBM-G 3 |  |  |  |  | 2431.755 |  |  |  | 29089.2829
OUBM-G 4 |  |  |  |  | 2459.6857 |  |  |  | 35879.2082
OUBM-G 5 |  |  |  |  | 2741.6728 |  |  |  | 36397.5201
OUBM-G 6 |  |  |  |  | 3166.7256 |  |  |  | 34524.5975
OUBM-G 7 |  |  |  |  | 2325.914 |  |  |  | 35375.6102
OUBM-G 8 |  |  |  |  | 2726.5072 |  |  |  | 36092.5091
OUBM-G 9 |  |  |  |  | 2523.6497 |  |  |  | 35458.0833
OUBM-G 10 |  |  |  |  | 2006.6514 |  |  |  | 27710.3237
OUBM-G 11 |  |  |  |  | 2940.4514 |  |  |  | 32955.8248
OUBM-G 11 DUP |  |  |  |  | 2899.8061 |  |  |  | 35453.7739
OUBM-G 12 |  |  |  |  | 2631.3457 |  |  |  | 34138.8099
OUBM-G 13 |  |  |  |  | 2651.4843 |  |  |  | 36078.5852
OUBM-G 14 |  |  |  |  | 2755.0705 |  |  |  | 24675.1311
OUBM-G 15 |  |  |  |  | 2072.6269 |  |  |  | 34018.5749
OUBM-G 16 |  |  |  |  | 2332.9885 |  |  |  | 34962.0886
OUBM-G 17 |  |  |  |  | 2137.5978 |  |  |  | 36714.9858
OUBM-G 18 |  |  |  |  | 1861.6302 |  |  |  | 25937.1775
OUBM-G 19 |  |  |  |  | 2199.2489 |  |  |  | 31209.0221
OUBM-G 20 |  |  |  |  | 2371.718 |  |  |  | 36754.544
OUBM-G 21 |  |  |  |  | 2173.4242 |  |  |  | 29477.7736
OUBM-G 22 |  |  |  |  | 2538.8227 |  |  |  | 36398.3899
OUBM-G 23 |  |  |  |  | 3056.2135 |  |  |  | 35905.2225
OUBM-G 24 |  |  |  |  | 3837.557 |  |  |  | 33981.47
OUBM-G 25 |  |  |  |  | 2958.4097 |  |  |  | 36458.0066
OUBM-G 26 |  |  |  |  | 2930.9302 |  |  |  | 36938.4169
OUBM-G 27 |  |  |  |  | 2500.5423 |  |  |  | 36658.5611
OUBM-G 28 |  |  |  |  | 3882.3524 |  |  |  | 36553.173
OUBM-G 29 |  |  |  |  | 3821.9405 |  |  |  | 38458.8532
OUBM-G 30 |  |  |  |  | 3343.5138 |  |  |  | 35291.9031
OUBM-G 31 |  |  |  |  | 3198.3707 |  |  |  | 35409.456
OUBM-G 32 |  |  |  |  | 3329.9105 |  |  |  | 36404.1032
OUBM-G 33 |  |  |  |  | 7566.9143 |  |  |  | 34724.265
OUBM-G 34 |  |  |  |  | 4392.1709 |  |  |  | 36184.9793
OUBM-G 35 |  |  |  |  | 3564.0574 |  |  |  | 36326.7602
OUBM-G 36 |  |  |  |  | 3827.8294 |  |  |  | 35647.7865
OUBM-G 37 |  |  |  |  | 4316.8483 |  |  |  | 36145.4376
OUBM-G 38 |  |  |  |  | 2518.3144 |  |  |  | 41095.4542
OUBM-G 39 |  |  |  |  | 9098.7554 |  |  |  | 27459.7017
OUBM-G 40 |  |  |  |  | 5147.1015 |  |  |  | 35932.245
OUBM-G 41 |  |  |  |  | 9653.6598 |  |  |  | 36131.5671
Definitions:
Stdev: Standard Deviation from duplicate assay analyses (n=2)
% RSD: Percent Relative Standard Deviation whereby; [{stdev/mean} * 100]
Q: Data Qualifiers: U = None-Detect, J = Estimated, E = Outside Linear Range, Blank = Detect
Label: OUBM = Operable Unit B Marine; OOUB = Outside Operable Unit B; DUP = Field duplicate
SAMPLE | tPCB |  |  |  | tPAH |  |  |  | Fe
LABEL | (mg/Kg) | Q | Stdev | %RSD | (mg/Kg) | Q | Stdev | %RSD | (mg/Kg) | Q | Stdev | %RSD
OUBM-G 42 |  |  |  |  | 4861.8028 |  |  |  | 36572.1071
OUBM-G 42 DUP |  |  |  |  | 5236.9735 |  |  |  | 37849.9312
OUBM-G 43 |  |  |  |  | 4724.4821 |  |  |  | 39694.6769
OUBM-G 44 |  |  |  |  | 3968.6428 |  |  |  | 36020.0901
OUBM-G 45 |  |  |  |  | 4965.2781 |  |  |  | 37247.1847
OUBM-G 46 |  |  |  |  | 2327.4663 |  |  |  | 26962.3292
OUBM-G 47 |  |  |  |  | 4366.1646 |  |  |  | 35571.3707
OUBM-G 48 |  |  |  |  | 2949.1185 |  |  |  | 35493.5243
OUBM-G 49 |  |  |  |  | 2979.6021 |  |  |  | 34476.578
OUBM-G 50 |  |  |  |  | 5559.8972 |  |  |  | 36271.5288
OUBM-G 51 |  |  |  |  | 2514.1504 |  |  |  | 35315.8787
OUBM-G 52 |  |  |  |  | 5754.131 |  |  |  | 37372.7958
OUBM-G 53 |  |  |  |  | 2966.9854 |  |  |  | 36473.797
OUBM-G 54 |  |  |  |  | 3619.7206 |  |  |  | 35278.1339
OUBM-G 55 |  |  |  |  | 5123.107 |  |  |  | 36280.0976
OUBM-G 56 |  |  |  |  | 4276.2048 |  |  |  | 39060.0562
OUBM-G 57 |  |  |  |  | 5775.5423 |  |  |  | 37584.2518
OUBM-G 58 |  |  |  |  | 4215.8289 |  |  |  | 35834.9667
OUBM-G 59 |  |  |  |  | 4364.8932 |  |  |  | 36251.7064
OUBM-G 60 |  |  |  |  | 8414.6564 |  |  |  | 38807.379
OUBM-G 61 |  |  |  |  | 11121.329 |  |  |  | 41366.8828
OUBM-G 62 |  |  |  |  | 4816.6039 |  |  |  | 35598.335
OUBM-G 63 |  |  |  |  | 6131.2102 |  |  |  | 37561.8203
OUBM-G 64 |  |  |  |  | 8015.3859 |  |  |  | 37220.691
OUBM-G 65 |  |  |  |  | 8024.0093 |  |  |  | 33958.1839
OUBM-G 66 |  |  |  |  | 5029.6758 |  |  |  | 36179.2794
OUBM-G 67 |  |  |  |  | 9360.3121 |  |  |  | 38486.059
OUBM-G 68 |  |  |  |  | 5483.5967 |  |  |  | 35067.0193
OUBM-G 68 DUP |  |  |  |  | 6719.9967 |  |  |  | 36881.6407
OUBM-G 69 |  |  |  |  | 4993.5071 |  |  |  | 27941.9222
OUBM-G 70 |  |  |  |  | 3685.4649 |  |  |  | 33814.6954
OUBM-G 71 |  |  |  |  | 2074.2198 |  |  |  | 20632.5087
PQ1 |  |  |  |  | 15741 |  |  |  | 36642.4051
PQ2 |  |  |  |  | 22877 |  |  |  | 57558.557
DD6-1/4 Comp |  |  |  |  | 3245 |  |  |  | 30568 | **
DD6-7 |  |  |  |  | 2727 |  |  |  | 32367.8474
** Ave RSC Fe conc from DD6 stations: 1&4
Definitions:
Stdev: Standard Deviation from duplicate assay analyses (n=2)
% RSD: Percent Relative Standard Deviation whereby; [{stdev/mean} * 100]
Q: Data Qualifiers: U = None-Detect, J = Estimated, E = Outside Linear Range, Blank = Detect
Label: OUBM = Operable Unit B Marine; OOUB = Outside Operable Unit B; DUP = Field duplicate
PQ = Pierside/Quaywall stations adjacent to Outfall 18; DD6 = Drydock # 6; Comp = Composite sample
SAMPLE | tPCB |  |  |  | tPAH |  |  |  | Fe
LABEL | (mg/Kg) | Q | Stdev | %RSD | (mg/Kg) | Q | Stdev | %RSD | (mg/Kg) | Q | Stdev | %RSD
OOUB-G 1 |  |  |  |  | 1219.2066 |  |  |  | 29107.5209
OOUB-G 2 |  |  |  |  | 1127.2157 |  |  |  | 21350.2782
OOUB-G 3 |  |  |  |  | 1197.9545 |  |  |  | 22911.2928
OOUB-G 4 |  |  |  |  | 1482.1714 |  |  |  | 23714.8634
OOUB-G 5 |  |  |  |  | 1846.8989 |  |  |  | 32484.2324
OOUB-G 6 |  |  |  |  | 2206.1334 |  |  |  | 36991.0194
OOUB-G 7 |  |  |  |  | 3206.2469 |  |  |  | 35016.0909
OOUB-G 8 |  |  |  |  | 2116.6123 |  |  |  | 33979.3886
OOUB-G 9 |  |  |  |  | 2596.4666 |  |  |  | 34530.9225
OOUB-G 10 |  |  |  |  | 2680.3947 |  |  |  | 34904.7402
OOUB-G 11 |  |  |  |  | 2478.3957 |  |  |  | 35059.1075
OOUB-G 12 |  |  |  |  | 2148.7855 |  |  |  | 19229.7577
OOUB-G 12 DUP |  |  |  |  | 1318.4911 |  |  |  | 19793.5942
OOUB-G 13 |  |  |  |  | 2534.5939 |  |  |  | 35692.206
OOUB-G 14 |  |  |  |  | 3162.7137 |  |  |  | 33186.9589
OOUB-G 14 DUP |  |  |  |  | 2868.7959 |  |  |  | 34719.9978
OOUB-G 15 |  |  |  |  | 2563.1086 |  |  |  | 35899.3958
OOUB-G 16 |  |  |  |  | 4806.7315 |  |  |  | 34339.8293
OOUB-G 17 |  |  |  |  | 3304.5229 |  |  |  | 36398.1789
OOUB-G 18 |  |  |  |  | 3008.4499 |  |  |  | 34458.2937
OOUB-G 19 |  |  |  |  | 2551.8888 |  |  |  | 33270.3678
OOUB-G 20 |  |  |  |  | 2589.4997 |  |  |  | 36255.4684
OOUB-G 21 |  |  |  |  | 2237.0953 |  |  |  | 34477.48
OOUB-G 22 |  |  |  |  | 2361.0922 |  |  |  | 35294.6189
OOUB-G 23 |  |  |  |  | 1635.8521 |  |  |  | 26767.7937
OOUB-G 23 DUP |  |  |  |  | 2186.7155 |  |  |  | 27379.1137
OOUB-G 24 |  |  |  |  | 2066.9083 |  |  |  | 34147.1927
OOUB-G 25 |  |  |  |  | 2059.0703 |  |  |  | 25922.1675
OOUB-G 26 |  |  |  |  | 916.6249 |  |  |  | 19846.6319
OOUB-G 27 |  |  |  |  | 2824.6481 |  |  |  | 33797.7627
OOUB-G 28 |  |  |  |  | 2425.6575 |  |  |  | 33936.9813
OOUB-G 29 |  |  |  |  | 1744.1397 |  |  |  | 28025.8723
OOUB-G 30 |  |  |  |  | 999.117 |  |  |  | 18059.7128
OOUB-G 31 |  |  |  |  | 2748.0123 |  |  |  | 33355.5408
OOUB-G 32 |  |  |  |  | 2201.7456 |  |  |  | 25539.3041
Definitions:
Stdev: Standard Deviation from duplicate assay analyses (n=2)
% RSD: Percent Relative Standard Deviation whereby; [{stdev/mean} * 100]
Q: Data Qualifiers: U = None-Detect, J = Estimated, E = Outside Linear Range, Blank = Detect
Label: OUBM = Operable Unit B Marine; OOUB = Outside Operable Unit B; DUP = Field duplicate